## VBT
Fabrication and Installation Of Propane and Butane Tanks
LEAK TEST REPORT
Report No. : | -ZNS-LEK-B-001 |  |  |  | Date : | 2017-12-11 | Page : 1 of 1
FIN No. : | -ZNS-FIN-LEK-B-001 |  |  |  | Drawing No. :DWG NO.: VP-10-00-ME-0006-3110
Tank No. : | TK-1662
Description : | Outer Shell to Outer Annular
Test Method : | Vacuum Oil Penetrant Air Pressure
Description and stage of examined items
Surface Conditions |  | As welded |  | Cleaning Method |  | Grinding & Wire Brushing
Design Pressure |  | _ |  | Test Medium |  | _
Actual Test Pressure |  | _ |  | Holding Time |  | 24 H
Pressure Gauge ID |  | _ |  | Test Fluid |  | Gas Oil
Calibration No. of Pressure Gauge |  | _ |  | Calibration Date of Pressure Gauge |  | _
Test Result |  | ACC |  | Test Date |  | 2017-12-10
Remarks:
CONTRACTOR |  |  | Supervision |  |  | Owner
SAF
Name :
Sign :
Date :
Form No. : QCF-015

## VBT (2)
Kangan Petro Refining Onshore facilities Fabrication and Installation Of
LEAK TEST REPORT
Report No. : |  |  |  |  | Date : |  | Page : 1 of 1
FIN No. : |  |  |  |  | Drawing No. :
Tank No. :
Description :
Test Method : | Vacuum Oil Penetrant Air Pressure
Description and stage of examined items
Surface Conditions |  | As welded |  | Cleaning Method |  | Grinding & Wire Brushing
Design Pressure
Actual Test Pressure
Pressure Gauge ID
Calibration No. of Pressure Gauge
Test Result
Remarks:
CONTRACTOR |  |  | Supervision |  |  | Owner
Name :
Sign :
Date :
Form No. :